REQUEST FOR QUOTATION

ADDENDUM #2

August 24, 2021

PROJECT:		NOAA MOC-P Flooring Project 2021

LOCATION:	NOAA MOC-P Facility

2002 Marine Science Dr.

Newport, OR   97365

SITE MEETING QUESTIONS

#### BID DUE:		Friday 9/17/2021, 2:00PM

Quotations on this project will be accepted by Hand Delivery, Mail, Fax, PDF via email.

SUBMIT TO:		Port of Newport   C/O General Manager		Phone:  (541) 265-7758

600 SE Bay Boulevard 				Fax:	(541) 265-4235

Newport, OR	97365				Email:  jim@portofnewport.com

QUESTIONS TO:	Jim Durkee   541-270-0545

This document and its attachments becomes part of the request for quotation listed above.

- Q: What kind of sealant and how many coats on ceramic tiles?
A: The grout in the bathrooms is discoloring. We want them cleaned and are more worried about sealing the grout lines than the tiles themselves. We will go with the contractor’s recommendation and the product recommendation as far as number of coats. Remember that all products need to be low VOC.

- Q: What type of concrete sealer in the warehouse and what was the original type?

A: I do not have access to the original type of sealant. A primary concern is keeping all products low VOC, which implies water-based. As to the number of coats required, we will go with the manufacturer’s recommendation.

- Q: What are the requirements for carpet tiles?

A: The requirements for carpet tiles are listed in attachment 2 directly below the carpet requirements, I am reprinting them here. Keep in mind that all adhesives are to be lowest possible VOC:

1. Pile Yarn Content.  Pile yarn content shall be staple filament or continuous filament premium branded

nylon branded by a major fiber producer [e.g., Invista (formerly DuPont), Solutia (formerly Monsanto), Shaw , and Honeywell

(formerly BASF).

2. Environmental Requirements.  The Lessor shall use carpet tiles that meet the “Green Label Plus” requirements of the

Carpet and Rug Institute unless an exception is granted by the Contracting Officer. Refer to the EPA’s environmentally

preferable purchasing web site, www.epa.gov/epp.

3. Carpet Pile Construction.  Carpet pile shall be level loop, textured loop, level cut pile, or level cut/uncut pile.

4. Pile Weight.  Pile weight shall be a minimum of 20 oz/square yard for level loop or textured loop construction.  Pile weight

shall be a minimum weight of 30 oz/yd2 for level cut/uncut construction.

5. Secondary Back.  The secondary backing shall be PVC free made from Polyurethane hardback, Thermoplastic Polyolefin

Composite, Ethylene Vinyl AcetateCEVA, Polyurethane Cushion, or Olefin hardback reinforced with fiberglass.

6. Total Weight.  Total weight shall be a minimum of 90 oz/ square yard.

7. Density.  The density shall be a minimum of 5,000 oz/cubic yard.

8. Pile Height.  The minimum pile height shall be 1/8 inch.  The combined thickness of the total product shall not exceed 1/2

inch (13 mm).

9. Static Buildup.  Static buildup shall be a maximum of 3.5 kilovolt, when tested in accordance with AATCC 134.

10. Flammability:  Carpet shall meet the flammability requirements of ASTE EC648 Test Method for Critical Radiant Flux of Floor

Covering Systems Using a Radiant Heat Energy Source.

11. Carpet Construction.  Carpet construction shall be a minimum of 64 tufts per square inch.

12. Carpet Reclamation.  Dispose of any carpet replaced during the life of the lease from the site to a carpet recycling program

or participate in a carpet buyback program.  When carpet is replaced, submit documentation of carpet reclamation to GSA.